SUNY Poly Worksheet

Chapter 6 (Controllers and Inverters) and Ch 14 (Electrical Grid)

- What do the following acronyms stand for?  Also provide a description of each.

PWM

MPPT

P&O algorithm

IGBT

MOSFET

CEC

THD

PPE

GFCI

NETL

SGIS

LVRT

DR

IP

IT

UPS

- Discuss the differences between single-phase, split-phase and three-phase alternating current.

- Discuss the differences between true/reactive and apparent power.

- Name the 4 NERC interconnections.